## Cluster 15
Queue Number | Project Number | Project Name | Generation/Fuel 1 | NET MW 1 | Generation/Fuel 2 | NET MW 2 | Generation/Fuel 3 | NET MW 3 | NET MW POI | PROJECT COUNTY | Project State | Study Area | PTO | POI | Voltage kV | Requested COD | Queue Date | Application Date | Service Type
2207 | 54516 | Alisa Solar Energy Complex 2 | Photovoltaic/Solar | 500 | Storage/Battery | 500 | N/A | N/A | 500 | Yuma | AZ | SAN DIEGO | SDGE | NORTH GILA - HOODOO WASH (SDGE Portion Only) | 525 | 2030-06-01 | 2025-02-12 | 2024-11-18 | Energy Only Requested
2328 | 54934 | Amanece | Photovoltaic/Solar | 418.9928 | Storage/Battery | 416.545 | N/A | N/A | 400 | Stanislaus | CA | PG&E FRESNO | PGAE | QUINTO SW STA- FINK SW STA 230 kV | 230 | 2029-07-31 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2244 | 54963 | Annapurna | Storage/Battery | 257 | N/A | N/A | N/A | N/A | 250 | Merced County | CA | PG&E FRESNO | PGAE | QUINTO SW STA 230 kV | 230 | 2028-06-01 | 2025-02-12 | 2024-11-20 | Full Capacity Deliverability Status Requested
2204 | 54897 | Antlia | Storage/Battery | 204.859 | N/A | N/A | N/A | N/A | 199 | Monterey | CA | PG&E GBA | PGAE | MOSS LANDING PP 115 kV | 115 | 2031-12-01 | 2025-02-12 | 2024-11-19 | Full Capacity Deliverability Status Requested
2212 | 54730 | Argenta | Photovoltaic/Solar | 155.76 | N/A | N/A | N/A | N/A | 150.01 | San Bernardino | CA | SCE NOL | SCE | PISGAH 230 kV | 230 | 2031-05-01 | 2025-02-12 | 2024-11-20 | Energy Only Requested
2219 | 54767 | Argos Solar | Photovoltaic/Solar | 352.0165 | N/A | N/A | N/A | N/A | 350.12 | San Bernadino | CA | SCE NOL | SCE | CALCITE 230 kV | 230 | 2030-06-01 | 2025-02-12 | 2024-11-15 | Energy Only Requested
2349 | 54509 | Aviation | Storage/Battery | 600 | Combustion Turbine/Hydrogen | 600 | N/A | N/A | 600 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-08-01 | 2025-02-12 | 2024-11-18 | Full Capacity Deliverability Status Requested
2305 | 54761 | Bajada | Photovoltaic/Solar | 352.9885 | N/A | N/A | N/A | N/A | 350 | Riverside | CA | SCE EASTERN | SCE | RED BLUFF 230 kV | 230 | 2030-06-01 | 2025-02-12 | 2024-11-15 | Energy Only Requested
2333 | 55013 | Belterra Energy Storage | Storage/Battery | 514.08 | N/A | N/A | N/A | N/A | 500 | Calaveras | CA | PG&E GBA | PGAE | BELLOTA 230 kV | 230 | 2028-04-01 | 2025-02-12 | 2024-11-19 | Full Capacity Deliverability Status Requested
2298 | 54694 | Blue Star | Photovoltaic/Solar | 306.3524 | Storage/Battery | 206.8023 | N/A | N/A | 300 | Kings | CA | PG&E FRESNO | PGAE | DRY LAKE SW STA 500 kV | 500 | 2029-03-30 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2248 | 54657 | Bolt | Photovoltaic/Solar | 255.4 | Storage/Battery | 253.8 | N/A | N/A | 250 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2206 | 54655 | Bonita Bateria | Storage/Battery | 102.91 | N/A | N/A | N/A | N/A | 100 | Orange | CA | SAN DIEGO | SDGE | TALEGA 138 kV | 138 | 2029-05-31 | 2025-02-12 | 2024-11-19 | Full Capacity Deliverability Status Requested
2208 | 54656 | Bonita Bateria 2 | Storage/Battery | 123.405 | N/A | N/A | N/A | N/A | 120 | Orange | CA | SAN DIEGO | SDGE | MARGARITA 138 kV | 138 | 2029-05-31 | 2025-02-12 | 2024-11-19 | Full Capacity Deliverability Status Requested
2265 | 54850 | Box | Photovoltaic/Solar | 63.44 | N/A | N/A | N/A | N/A | 60 | Riverside | CA | SCE EASTERN | SCE | RED BLUFF 230 kV | 230 | 2029-01-01 | 2025-02-12 | 2024-12-02 | Energy Only Requested
2257 | 54523 | Bristlecone | Photovoltaic/Solar | 460.95 | Storage/Battery | 460.14 | N/A | N/A | 450 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2030-06-01 | 2025-02-12 | 2024-11-05 | Energy Only Requested
2308 | 54518 | Broadview | Photovoltaic/Solar | 816.4 | Storage/Battery | 491.8 | N/A | N/A | 800 | Fresno | CA | PG&E FRESNO | WAPA | LOS BANOS-GATES #3 | 500 | 2028-09-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2336 | 54696 | Brown Bear | Storage/Battery | 74.2023 | Photovoltaic/Solar | 303.785 | N/A | N/A | 300 | Kings | CA | PG&E FRESNO | PGAE | DRY LAKE SW STA 500 kV | 500 | 2029-03-30 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2359 | 54697 | Brundage Energy Storage | Storage/Battery | 202.2668 | N/A | N/A | N/A | N/A | 197 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 230 kV | 230 | 2029-06-01 | 2025-02-12 | 2024-11-20 | Full Capacity Deliverability Status Requested
2280 | 54771 | Cantus | Storage/Battery | 249.524 | Photovoltaic/Solar | 249.524 | N/A | N/A | 240 | Merced | CA | PG&E FRESNO | PGAE | FINK SW STA 230 kV | 230 | 2031-03-14 | 2025-02-12 | 2024-11-20 | Full Capacity Deliverability Status Requested
2370 | 54809 | Carissalito Creek | Storage/Battery | 415.86 | Photovoltaic/Solar | 415.86 | N/A | N/A | 400 | Merced | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2030-12-31 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2306 | 55012 | Chronos Energy Storage | Storage/Compressed Air | 516.8 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2031-11-30 | 2025-02-12 | 2024-12-02 | Full Capacity Deliverability Status Requested
2339 | 54511 | Comstock | Storage/Battery | 199 | Combustion Turbine/Hydrogen | 199 | N/A | N/A | 199 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-08-01 | 2025-02-12 | 2024-11-19 | Full Capacity Deliverability Status Requested
2227 | 54896 | Conduit Energy Storage 2 | Storage/Battery | 199 | N/A | N/A | N/A | N/A | 199 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2031-02-26 | 2025-02-12 | 2024-11-15 | Full Capacity Deliverability Status Requested
2226 | 54667 | Container | Photovoltaic/Solar | 204.57 | N/A | N/A | N/A | N/A | 200 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2031-06-01 | 2025-02-12 | 2024-11-18 | Energy Only Requested
2344 | 54593 | Cowboy | Photovoltaic/Solar | 156.4 | Storage/Battery | 155.3 | N/A | N/A | 150 | Colusa | CA | PG&E NGBA | PGAE | DELEVAN-CORTINA | 230 | 2030-06-30 | 2025-02-12 | 2024-11-27 | Energy Only Requested
2210 | 54939 | Domestic Chicken | Photovoltaic/Solar | 559.4 | N/A | N/A | N/A | N/A | 550.01 | Maricopa | AZ | SAN DIEGO | SDGE | HASSAYAMPA 500 kV | 500 | 2029-12-03 | 2025-02-12 | 2024-11-20 | Energy Only Requested
2286 | 54774 | Dove Cove | Storage/Battery | 514.368 | N/A | N/A | N/A | N/A | 500 | San Joaquin | CA | PG&E GBA | PGAE | TESLA 500 kV | 500 | 2031-03-14 | 2025-02-12 | 2024-11-20 | Full Capacity Deliverability Status Requested
2351 | 54526 | Duran | Storage/Battery | 300 | Combustion Turbine/Hydrogen | 300 | N/A | N/A | 300 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-08-01 | 2025-02-12 | 2024-11-19 | Full Capacity Deliverability Status Requested
2342 | 54960 | East Wonder | Photovoltaic/Solar | 366.9093 | Storage/Battery | 188.82 | N/A | N/A | 350 | Kern | CA | PG&E FRESNO | PGAE | DRY LAKE SW STA 500 kV | 500 | 2029-07-31 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2221 | 54840 | Emerita Energy Storage | Storage/Battery | 205.7 | N/A | N/A | N/A | N/A | 199.9 | Alameda | CA | PG&E GBA | PGAE | TESLA 230 kV | 230 | 2028-03-01 | 2025-02-12 | 2024-12-01 | Full Capacity Deliverability Status Requested
2224 | 54674 | Energia Sierra Juarez 4 | Wind Turbine/Wind | 309.1 | N/A | N/A | N/A | N/A | 299.8 | Tijuana, Mexico | CA | SAN DIEGO | SDGE | EAST COUNTY 230 kV | 230 | 2030-03-31 | 2025-02-12 | 2024-11-27 | Energy Only Requested
2216 | 54862 | Fika | Storage/Battery | 258.47 | N/A | N/A | N/A | N/A | 250 | Merced | CA | PG&E FRESNO | PGAE | QUINTO SW STA 230 kV | 230 | 2029-06-30 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2209 | 54643 | Fornax | Storage/Battery | 103.125 | Photovoltaic/Solar | 103.125 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | PGAE | TRANQUILLITY SW STA 230 kV | 230 | 2031-12-01 | 2025-02-12 | 2024-11-20 | Energy Only Requested
2297 | 54693 | Galadriel | Storage/Battery | 317.5 | N/A | N/A | N/A | N/A | 300 | Madera | CA | PG&E GBA | PGAE | TESLA 230 kV | 230 | 2031-03-31 | 2025-02-12 | 2024-11-22 | Full Capacity Deliverability Status Requested
2300 | 54629 | GAMAY | Photovoltaic/Solar | 200 | Storage/Battery | 200 | N/A | N/A | 200 | KERN | CA | PG&E KERN | PGAE | ARCO-MIDWAY | 230 | 2031-12-31 | 2025-02-12 | 2024-11-26 | Energy Only Requested
2273 | 54768 | Goldlink | Photovoltaic/Solar | 353.8145 | N/A | N/A | N/A | N/A | 350 | Nye | NV | SCE EOP | GLW | LATHROP 230 kV (FUTURE) | 230 | 2030-06-01 | 2025-02-12 | 2024-11-15 | Energy Only Requested
2313 | 54702 | Gosford Solar Storage | Photovoltaic/Solar | 304.6305 | N/A | N/A | N/A | N/A | 300 | Kern | CA | PG&E KERN | PGAE | BITTERWATER SW STA 230 kV | 230 | 2029-03-30 | 2025-02-12 | 2024-11-21 | Energy Only Requested
2238 | 54945 | Grapevine 1 | Photovoltaic/Solar | 204.58 | N/A | N/A | N/A | N/A | 200.01 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2031-06-01 | 2025-02-12 | 2024-11-18 | Energy Only Requested
2368 | 54832 | Green Palms | Photovoltaic/Solar | 306.7 | N/A | N/A | N/A | N/A | 300.62 | Riverside | CA | SCE EASTERN | SCE | COLORADO RIVER 230 kV | 230 | 2030-12-31 | 2025-02-12 | 2024-11-15 | Energy Only Requested
2220 | 54740 | Hacienda | Photovoltaic/Solar | 156.525 | N/A | N/A | N/A | N/A | 150 | San Bernardino | CA | SCE NOL | SCE | PISGAH 230 kV | 230 | 2030-12-01 | 2025-02-12 | 2024-11-20 | Energy Only Requested
2262 | 54725 | Helios Grid Reliability | Storage/Battery | 205.4504 | N/A | N/A | N/A | N/A | 199 | Calaveras | CA | PG&E GBA | PGAE | LOCKEFORD 115 kV | 115 | 2028-09-15 | 2025-02-12 | 2024-11-14 | Full Capacity Deliverability Status Requested
2327 | 54703 | Hillside Energy Storage | Storage/Battery | 1064.7485 | N/A | N/A | N/A | N/A | 1000 | Los Angeles | CA | SCE NORTHERN | SCE | VINCENT 230 kV | 230 | 2029-06-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2282 | 54839 | Holly Oaks | Storage/Battery | 128.4 | N/A | N/A | N/A | N/A | 125 | Calaveras | CA | PG&E GBA | PGAE | VALLEY SPRINGS 230 kV | 230 | 2028-03-01 | 2025-02-12 | 2024-12-01 | Full Capacity Deliverability Status Requested
2263 | 54785 | Jackrabbit Power Bank | Storage/Battery | 307.62 | N/A | N/A | N/A | N/A | 300 | Santa Clara | CA | PG&E GBA | PGAE | LOS ESTEROS 115 kV | 115 | 2029-06-01 | 2025-02-12 | 2024-11-20 | Full Capacity Deliverability Status Requested
2294 | 55004 | Lagoonez | Storage/Battery | 1029 | N/A | N/A | N/A | N/A | 1000 | Los Angeles | CA | SCE METRO | SCE | LAGUNA BELL 230 kV | 230 | 2028-12-31 | 2025-02-12 | 2024-12-02 | Full Capacity Deliverability Status Requested
2275 | 54938 | Little Hill | Storage/Battery | 63.14 | N/A | N/A | N/A | N/A | 60 | San Bernardino | CA | SCE METRO | SCE | MIRA LOMA 230 kV | 230 | 2031-04-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2288 | 54567 | Lycan Solar 2 | Photovoltaic/Solar | 192.2176 | N/A | N/A | N/A | N/A | 190 | Riverside | CA | SCE EASTERN | SCE | RED BLUFF 500 kV | 500 | 2028-10-01 | 2025-02-12 | 2024-11-21 | Energy Only Requested
2356 | 54689 | Maestro | Photovoltaic/Solar | 304.68 | Storage/Battery | 304.03 | N/A | N/A | 300 | Fresno | CA | PG&E FRESNO | PGAE | HARLAN SW STA 500 kV | 500 | 2029-12-01 | 2025-02-12 | 2024-12-02 | Full Capacity Deliverability Status Requested
2360 | 54624 | Maravillosa 1 | Photovoltaic/Solar | 204.0238 | Storage/Battery | 202.616 | N/A | N/A | 200 | Kings | CA | PG&E FRESNO | PGAE | DRY LAKE SW STA 500 kV | 500 | 2029-06-30 | 2025-02-12 | 2024-11-27 | Full Capacity Deliverability Status Requested
2361 | 54625 | Maravillosa 2 | Photovoltaic/Solar | 407.233 | Storage/Battery | 404.637 | N/A | N/A | 400 | Kern | CA | PG&E FRESNO | PGAE | DRY LAKE SW STA 500 kV | 500 | 2029-06-30 | 2025-02-12 | 2024-11-27 | Full Capacity Deliverability Status Requested
2366 | 55027 | MATTERHORN | Wind Turbine/Wind | 406.8 | Storage/Battery | 406.098 | Photovoltaic/Solar | 404.892 | 400 | RIVERSIDE | CA | SCE EASTERN | SCE | DEVERS 500 kV | 500 | 2029-12-15 | 2025-02-12 | 2024-11-21 | Energy Only Requested
2279 | 54952 | Mesquite Solar 6 | Storage/Battery | 154.5 | Photovoltaic/Solar | 154.48 | N/A | N/A | 150 | Maricopa | AZ | SAN DIEGO | SDGE | HASSAYAMPA 500 kV | 500 | 2028-04-30 | 2025-02-12 | 2024-11-25 | Energy Only Requested
2362 | 54704 | MidBishop | Storage/Battery | 74.2023 | Photovoltaic/Solar | 307.779 | N/A | N/A | 300 | Kings | CA | PG&E FRESNO | PGAE | DRY LAKE SW STA 500 kV | 500 | 2029-03-30 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2246 | 54762 | Moonraker | Storage/Battery | 352.7437 | N/A | N/A | N/A | N/A | 350 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2029-12-01 | 2025-02-12 | 2024-11-15 | Full Capacity Deliverability Status Requested
2266 | 54634 | Muon | Photovoltaic/Solar | 1169.504 | Storage/Battery | 1169.504 | N/A | N/A | 1150 | Fresno County | CA | PG&E KERN | PGAE | HARLAN SW STA 500 kV | 500 | 2028-09-30 | 2025-02-12 | 2024-11-19 | Full Capacity Deliverability Status Requested
2269 | 54733 | Nelson | Photovoltaic/Solar | 103.74 | N/A | N/A | N/A | N/A | 100 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2031-06-01 | 2025-02-12 | 2024-11-18 | Energy Only Requested
2237 | 54671 | Nelson Hills | Photovoltaic/Solar | 204.57 | N/A | N/A | N/A | N/A | 200 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2031-06-01 | 2025-02-12 | 2024-11-18 | Energy Only Requested
2214 | 54637 | Octans | Storage/Battery | 103.226 | Photovoltaic/Solar | 103.226 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | PGAE | ORO LOMA 70 kV | 70 | 2031-12-01 | 2025-02-12 | 2024-11-20 | Energy Only Requested
2357 | 54675 | Off Stream Water Storage | Hydro/Pumped-Storage Hydro | 68.897 | N/A | N/A | N/A | N/A | 67.4 | Colusa | CA | PG&E NGBA | PGAE | DELEVAN-CORTINA | 230 | 2030-04-01 | 2025-02-12 | 2024-11-27 | Energy Only Requested
2343 | 54989 | Quaking Aspen | Photovoltaic/Solar | 209.643 | Storage/Battery | 107.9021 | N/A | N/A | 200 | Kern | CA | PG&E FRESNO | PGAE | DRY LAKE SW STA 500 kV | 500 | 2029-07-31 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2232 | 54672 | Reflex | Photovoltaic/Solar | 129.04 | N/A | N/A | N/A | N/A | 125 | Riverside | CA | SCE EASTERN | SCE | RED BLUFF 230 kV | 230 | 2029-01-01 | 2025-02-12 | 2024-12-02 | Energy Only Requested
2234 | 54684 | Ripple | Photovoltaic/Solar | 945.9227 | Storage/Battery | 933.8717 | N/A | N/A | 900 | Kings and Fresno | CA | PG&E KERN | PGAE | DRY LAKE SW STA 500 kV | 500 | 2031-10-03 | 2025-02-12 | 2024-11-29 | Energy Only Requested
2332 | 54995 | Separator Expansion | Storage/Battery | 12.55 | N/A | N/A | N/A | N/A | 12.5 | San Bernardino | CA | SCE EASTERN | SCE | ETIWANDA 230 kV | 230 | 2025-06-06 | 2025-02-12 | 2024-11-15 | Merchant- Full Capacity Deliverability Status Requested
2215 | 54669 | Serenity | Photovoltaic/Solar | 305.41 | N/A | N/A | N/A | N/A | 300.01 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2031-06-01 | 2025-02-12 | 2024-11-18 | Energy Only Requested
2293 | 54915 | Shoals Energy Storage 2 | Storage/Battery | 461.13 | N/A | N/A | N/A | N/A | 450 | Los Angeles County | CA | SCE NORTHERN | SCE | VINCENT 500 kV | 500 | 2029-08-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2249 | 54665 | Shoestring | Photovoltaic/Solar | 135.17 | Storage/Battery | 134.36 | N/A | N/A | 131 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2268 | 54651 | Sienna 3 | Photovoltaic/Solar | 288 | Storage/Battery | 288 | N/A | N/A | 288 | San Bernardino | CA | SCE NOL | SCE | CALCITE 230 kV | 230 | 2031-12-31 | 2025-02-12 | 2024-11-25 | Energy Only Requested
2311 | 55049 | Soledad Solar | Photovoltaic/Solar | 562.355 | N/A | N/A | N/A | N/A | 550 | Kern | CA | SCE NORTHERN | SCE | WINDHUB 230 kV | 230 | 2028-06-01 | 2025-02-12 | 2024-11-21 | Energy Only Requested
2252 | 54739 | Solstice A | Photovoltaic/Solar | 556 | Storage/Battery | 554.6 | N/A | N/A | 550 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2254 | 54847 | Solstice B | Photovoltaic/Solar | 606.39 | Storage/Battery | 604.93 | N/A | N/A | 600 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2253 | 54848 | Solstice C | Photovoltaic/Solar | 204.53 | Storage/Battery | 203.63 | N/A | N/A | 200 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2251 | 54849 | Solstice D | Photovoltaic/Solar | 204.41 | Storage/Solar | 203.63 | N/A | N/A | 200 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2250 | 54738 | Stable | Photovoltaic/Solar | 376.81 | Storage/Battery | 373.11 | N/A | N/A | 369 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2331 | 54882 | Stanley | Photovoltaic/Solar | 1038.9 | Storage/Battery | 1032.1121 | N/A | N/A | 1000 | Maricopa | AZ | SCE EASTERN | DCRT | CIELO AZUL 500 kV | 500 | 2030-04-30 | 2025-02-12 | 2024-11-21 | Energy Only Requested
2240 | 54903 | Sunflower | Photovoltaic/Solar | 715.1 | Storage/Battery | 715.1 | N/A | N/A | 700 | San Bernardino County | CA | SCE NOL | SCE | LUGO-PISGAH NO.2 | 230 | 2031-03-01 | 2025-02-12 | 2024-11-23 | Energy Only Requested
2260 | 54905 | Sunglow | Photovoltaic/Solar | 372.165 | Storage/Battery | 372.165 | N/A | N/A | 362 | Kings County | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2030-10-01 | 2025-02-12 | 2024-11-22 | Full Capacity Deliverability Status Requested
2319 | 54902 | Sunvine | Photovoltaic/Solar | 613.7 | Storage/Battery | 0 | N/A | N/A | 600 | Kern County | CA | SCE NORTHERN | SCE | MAGUNDEN-PASTORIA NO.3 | 230 | 2031-03-01 | 2025-02-12 | 2024-11-22 | Energy Only Requested
2258 | 54827 | Telluride | Photovoltaic/Solar | 102.7 | Storage/Battery | 102.7 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | PGAE | ORO LOMA 115 kV | 115 | 2030-10-30 | 2025-02-12 | 2024-11-15 | Energy Only Requested
2301 | 54652 | TENDRIL | Photovoltaic/Solar | 100 | Storage/Battery | 100 | N/A | N/A | 100 | Kern | CA | PG&E KERN | PGAE | ARCO-MIDWAY | 230 | 2031-12-31 | 2025-02-12 | 2024-11-26 | Energy Only Requested
2272 | 54638 | Toland Renewable Energy Park | Wind Turbine/Wind | 108 | N/A | N/A | N/A | N/A | 104.8 | Solano | CA | PG&E NGBA | PGAE | BIRDS LANDING SW STA 230 kV | 230 | 2029-05-30 | 2025-02-12 | 2024-11-06 | Full Capacity Deliverability Status Requested
2317 | 54943 | Twinkle | Storage/Battery | 303.95 | N/A | N/A | N/A | N/A | 300 | San Bernardino | CA | SCE METRO | SCE | MIRA LOMA 230 kV | 230 | 2031-04-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2321 | 55041 | Voyager Energy Storage | Storage/Battery | 105.4 | N/A | N/A | N/A | N/A | 101 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2027-06-01 | 2025-02-12 | 2024-11-21 | Full Capacity Deliverability Status Requested
2259 | 54802 | Whiskey Diggings | Photovoltaic/Solar | 414.4 | N/A | N/A | N/A | N/A | 400 | Sutter | CA | PG&E NGBA | PGAE | RIO OSO 230 kV | 230 | 2030-12-31 | 2025-02-12 | 2024-12-02 | Energy Only Requested
2352 | 55002 | Yacht Rock | Storage/Battery | 514.41 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | CHINO 230 kV | 230 | 2028-12-31 | 2025-02-12 | 2024-12-01 | Full Capacity Deliverability Status Requested
2247 | 54778 | Zama | Storage/Battery | 352.7437 | N/A | N/A | N/A | N/A | 350 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2029-12-01 | 2025-02-12 | 2024-11-15 | Full Capacity Deliverability Status Requested
2264 | 54682 | Zeitgeist K Energy Center | Storage/Battery | 258.2079 | N/A | N/A | N/A | N/A | 250 | San Joaquin | CA | PG&E GBA | PGAE | KASSON 115 kV | 115 | 2030-12-26 | 2025-02-12 | 2024-11-28 | Full Capacity Deliverability Status Requested

## Withdrawn
Queue Number | Project Number | Project Name | Generation/Fuel 1 | NET MW 1 | Generation/Fuel 2 | NET MW 2 | Generation/Fuel 3 | NET MW 3 | NET MW POI | PROJECT COUNTY | Project State | Study Area | PTO | POI | Voltage kV | Requested COD | Queue Date | Application Date | Withdrawal Date | Service Type
2229 | 54899 | Clay Flats | Storage/Battery | 437.08 | N/A | N/A | N/A | N/A | 425 | king | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2030-10-01 | 2025-02-12 | 2024-11-22 | 2025-04-23 | Energy Only Requested
2202 | 55018 | Gibson | Storage/Battery | 154.598 | N/A | N/A | N/A | N/A | 150 | Merced | CA | PG&E FRESNO | PGAE | MERCY SPRINGS SW STA 70 kV | 70 | 2028-04-14 | 2025-02-12 | 2024-11-15 | 2025-04-24 | Energy Only Requested
2283 | 54729 | Amargosa SEZ | Photovoltaic/Solar | 510.35 | Storage/Battery | 508.19 | N/A | N/A | 500 | Nye | NV | SCE EOP | GLW | BEATTY 230 kV | 230 | 2030-12-01 | 2025-02-12 | 2024-11-18 | 2025-04-25 | Merchant- Full Capacity Deliverability Status Requested
2290 | 54668 | Ashton Energy Center | Photovoltaic/Solar | 1026.67 | Storage/Battery | 1022.47 | N/A | N/A | 1000 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2032-12-01 | 2025-02-12 | 2024-11-18 | 2025-04-25 | Merchant- Full Capacity Deliverability Status Requested
2228 | 54946 | Grapevine 2 | Storage/Battery | 505.1 | N/A | N/A | N/A | N/A | 500 | Clark | NV | SCE EOP | SCE | ELDORADO 230 kV | 230 | 2028-06-01 | 2025-02-12 | 2024-11-18 | 2025-04-25 | Merchant- Full Capacity Deliverability Status Requested
2211 | 54777 | Campito Peak | Storage/Battery | 565.77 | N/A | N/A | N/A | N/A | 550 | Inyo | CA | SCE EOP | GLW | TROUT CANYON 230 kV | 230 | 2031-12-01 | 2025-02-12 | 2024-11-21 | 2025-04-28 | Merchant- Full Capacity Deliverability Status Requested
2245 | 54870 | Reed Meadow | Storage/Battery | 565.77 | N/A | N/A | N/A | N/A | 550 | Clark | NV | SCE EOP | GLW | SLOAN CANYON 230 kV | 230 | 2031-12-01 | 2025-02-12 | 2024-11-21 | 2025-04-28 | Merchant- Full Capacity Deliverability Status Requested
2299 | 54873 | Saltgrass | Storage/Battery | 4.9995 | Storage/Battery | 166.1045 | N/A | N/A | 162 | Stanislaus | CA | PG&E GBA | PGAE | SALADO 115 kV | 115 | 2028-06-01 | 2025-02-12 | 2024-11-26 | 2025-04-28 | Full Capacity Deliverability Status Requested
2309 | 54763 | Cathedral | Photovoltaic/Solar | 361.1393 | Storage/Battery | 360.3123 | N/A | N/A | 350 | Nye | NV | SCE EOP | GLW | TROUT CANYON 500 kV | 500 | 2031-12-02 | 2025-02-12 | 2024-11-15 | 2025-04-29 | Merchant- Full Capacity Deliverability Status Requested
2241 | 54764 | Hiko | Storage/Battery | 359.798 | N/A | N/A | N/A | N/A | 350 | Clark | NV | SCE EOP | SCE | MOHAVE 500 kV | 500 | 2031-12-02 | 2025-02-12 | 2024-11-15 | 2025-04-29 | Merchant- Full Capacity Deliverability Status Requested
2291 | 54765 | Onyx | Photovoltaic/Solar | 353.1114 | Storage/Battery | 352.9139 | N/A | N/A | 350 | Clark | NV | SCE EOP | GLW | DESERT VIEW-INNOVATION | 230 | 2030-12-02 | 2025-02-12 | 2024-11-20 | 2025-04-29 | Merchant- Full Capacity Deliverability Status Requested
2242 | 54571 | Borderline Solar | Photovoltaic/Solar | 638.1349 | Storage/Battery | 629.5905 | N/A | N/A | 600 | Inyo | CA | SCE EOP | GLW | TROUT CANYON 230 kV | 230 | 2028-10-01 | 2025-02-12 | 2024-12-02 | 2025-05-01 | Energy Only Requested
2270 | 54580 | Chance Solar | Photovoltaic/Solar | 895.7719 | Storage/Battery | 894.2191 | N/A | N/A | 850 | Nye | NV | SCE EOP | GLW | BEATTY 230 kV | 230 | 2028-10-01 | 2025-02-12 | 2024-11-12 | 2025-05-01 | Energy Only Requested
2326 | 55047 | Aridpeak Storage | Storage/Battery | 259.36 | N/A | N/A | N/A | N/A | 250 | Kern | CA | PG&E KERN | PGAE | CALIENTE SW STA-MIDWAY #1 | 230 | 2030-02-01 | 2025-02-12 | 2024-11-20 | 2025-05-02 | Energy Only Requested
2334 | 54507 | Esteli Energy Storage | Storage/Battery | 350 | N/A | N/A | N/A | N/A | 350 | Los Angeles | CA | SCE METRO | SCE | OLINDA 230 kV | 230 | 2028-05-26 | 2025-02-12 | 2024-11-15 | 2025-05-11 | Full Capacity Deliverability Status Requested
2316 | 54863 | Birdrock | Storage/Battery | 104.96 | N/A | N/A | N/A | N/A | 100 | Los Angeles County | CA | SCE METRO | SCE | Mesa 230KV | 230 | 2029-06-30 | 2025-02-12 | 2024-12-02 | 2025-05-15 | Full Capacity Deliverability Status Requested
2222 | 54584 | Peach Storage | Storage/Battery | 103.68 | N/A | N/A | N/A | N/A | 100.15 | Stanislaus | CA | PG&E GBA | PGAE | PIERCY 115 kV | 115 | 2031-11-01 | 2025-02-12 | 2024-11-14 | 2025-05-20 | Full Capacity Deliverability Status Requested
2284 | 54528 | POTENTIA-VIRIDI 2 | Storage/Battery | 405.2895 | N/A | N/A | N/A | N/A | 400 | San Joaquin | CA | PG&E GBA | PGAE | TESLA 500 kV | 500 | 2028-12-15 | 2025-02-12 | 2025-02-25 | 2025-05-20 | Full Capacity Deliverability Status Requested
2292 | 54626 | BlueWater Solar | Photovoltaic/Solar | 1016.4 | Storage/Battery | 1014.4 | N/A | N/A | 1000 | La Paz | AZ | SCE EASTERN | DCRT | Cielo Azul | 500 | 2028-12-29 | 2025-02-12 | 2024-12-02 | 2025-05-27 | Energy Only Requested
2371 | 54627 | Connor | Storage/Battery | 514.8781 | N/A | N/A | N/A | N/A | 500 | Los Angeles | CA | SCE NORTHERN | SCE | VINCENT 500 kV | 500 | 2030-04-30 | 2025-02-12 | 2024-11-21 | 2025-05-27 | Full Capacity Deliverability Status Requested
2271 | 54676 | White Oak Solar | Photovoltaic/Solar | 407 | Storage/Battery | 406.2 | N/A | N/A | 400 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2029-12-31 | 2025-02-12 | 2024-12-17 | 2025-05-27 | Energy Only Requested
2218 | 54586 | Leopard Storage | Storage/Battery | 458.703 | N/A | N/A | N/A | N/A | 450 | Merced | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2031-11-01 | 2025-02-12 | 2024-11-14 | 2025-05-29 | Full Capacity Deliverability Status Requested
2324 | 54930 | Goldspur | Storage/Battery | 506.9513 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-12-31 | 2025-02-12 | 2024-11-19 | 2025-05-30 | Full Capacity Deliverability Status Requested
2296 | 54737 | Sing | Storage/Battery | 405.48 | N/A | N/A | N/A | N/A | 400.01 | San Diego | CA | SCE METRO | HWT | NORTH OF SONGS 500 kV | 500 | 2030-12-01 | 2025-02-12 | 2024-11-21 | 2025-05-30 | Full Capacity Deliverability Status Requested
2274 | 54664 | Vantage | Storage/Battery | 306.59 | N/A | N/A | N/A | N/A | 300 | San Diego County | CA | SCE METRO | SCE | SAN ONOFRE 230 kV | 230 | 2030-12-01 | 2025-02-12 | 2024-11-21 | 2025-05-30 | Full Capacity Deliverability Status Requested
2338 | 55053 | Raspberry Solar 1 | Photovoltaic/Solar | 15.57 | N/A | N/A | N/A | N/A | 0 | Contra Costa | CA | PG&E GBA | PGAE | SOBRANTE-STANDARD OIL SW STA #1 | 115 | 2027-07-01 | 2025-02-12 | 2024-11-14 | 2025-11-12 | Energy Only Requested
2203 | 55044 | Pinecone | Storage/Battery | 514.599 | N/A | N/A | N/A | N/A | 500 | Yuma | AZ | SAN DIEGO | SDGE | Hassayampa-Hoodoo Wash | 500 | 2028-04-14 | 2025-02-12 | 2024-11-15 | 2025-11-13 | Energy Only Requested
2314 | 54769 | Fritts | Photovoltaic/Solar | 258.6863 | Storage/Battery | 258.1939 | N/A | N/A | 250 | Fresno | CA | PG&E KERN | PGAE | GATES 500 kV | 500 | 2029-09-30 | 2025-02-12 | 2024-11-15 | 2025-11-18 | Full Capacity Deliverability Status Requested
2335 | 54770 | Superba | Photovoltaic/Solar | 205.6961 | Storage/Battery | 205.4614 | N/A | N/A | 199 | Fresno | CA | PG&E KERN | PGAE | GATES 500 kV | 500 | 2029-09-30 | 2025-02-12 | 2024-11-15 | 2025-11-18 | Full Capacity Deliverability Status Requested
2243 | 54710 | Avenida Del Sul | Photovoltaic/Solar | 151.2948 | N/A | N/A | N/A | N/A | 150 | Inyo | CA | SCE NOL | SCE | INYOKERN 115 kV | 115 | 2029-03-30 | 2025-02-12 | 2024-11-26 | 2025-11-20 | Energy Only Requested
2355 | 54558 | Nightcap | Storage/Battery | 564.5 | Combustion Turbine/Hydrogen | 557.4 | N/A | N/A | 550 | Los Angeles | CA | SCE NORTHERN | SCE | VINCENT 500 kV | 500 | 2028-08-01 | 2025-02-12 | 2024-11-20 | 2025-11-20 | Full Capacity Deliverability Status Requested
2354 | 55026 | Buonissimo Energy | Storage/Battery | 501.63 | N/A | N/A | N/A | N/A | 500 | Kern | CA | PG&E KERN | PGAE | MIDWAY-WHIRLWIND | 525 | 2029-07-30 | 2025-02-12 | 2024-11-21 | 2025-11-25 | Full Capacity Deliverability Status Requested
2205 | 54743 | La Media | Storage/Battery | 51.48 | N/A | N/A | N/A | N/A | 50 | Orange | CA | SAN DIEGO | SDGE | SAN MATEO 138 kV | 138 | 2029-05-31 | 2025-02-12 | 2024-11-19 | 2025-11-25 | Full Capacity Deliverability Status Requested
2281 | 54843 | Chardonnay Storage Center | Storage/Battery | 204.9 | N/A | N/A | N/A | N/A | 200 | San Joaquin | CA | PG&E GBA | PGAE | GOLD HILL-EIGHT MILE ROAD | 230 | 2030-02-15 | 2025-02-12 | 2024-11-29 | 2025-11-26 | Full Capacity Deliverability Status Requested
2358 | 55035 | Garden Green Solar | Photovoltaic/Solar | 50.46 | Storage/Battery | 50.46 | N/A | N/A | 50 | Santa Clara County | CA | PG&E GBA | PGAE | LLAGAS 115 kV | 115 | 2027-03-01 | 2025-02-12 | 2024-11-27 | 2025-11-26 | Full Capacity Deliverability Status Requested
2217 | 54579 | Baca | Storage/Battery | 490.734 | N/A | N/A | N/A | N/A | 475 | Merced | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2028-10-01 | 2025-02-12 | 2024-11-25 | 2025-12-01 | Full Capacity Deliverability Status Requested
2256 | 54565 | Calypso Solar 2 | Photovoltaic/Solar | 407.3264 | N/A | N/A | N/A | N/A | 400 | Riverside | CA | SCE EASTERN | SCE | COLORADO RIVER 500 kV | 500 | 2028-10-01 | 2025-02-12 | 2024-11-14 | 2025-12-01 | Energy Only Requested
2315 | 54648 | Date Palm | Storage/Battery | 620.58 | N/A | N/A | N/A | N/A | 614 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2031-12-31 | 2025-02-12 | 2024-11-25 | 2025-12-01 | Full Capacity Deliverability Status Requested
2303 | 54501 | RIGHTEOUS ENERGY STORAGE | Storage/Battery | 500 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2030-05-27 | 2025-02-12 | 2024-11-15 | 2025-12-01 | Full Capacity Deliverability Status Requested
2233 | 54576 | Whiptail Solar | Photovoltaic/Solar | 252.2853 | N/A | N/A | N/A | N/A | 250 | Fresno | CA | PG&E FRESNO | PGAE | MANNING - TRANQUILITY #1 | 230 | 2028-10-01 | 2025-02-12 | 2025-11-04 | 2025-12-01 | Energy Only Requested
2276 | 54659 | Ace | Storage/Battery | 303.96 | N/A | N/A | N/A | N/A | 300 | Alameda | CA | PG&E GBA | PGAE | TESLA 230 kV | 230 | 2030-06-01 | 2025-02-12 | 2024-11-19 | 2025-12-02 | Full Capacity Deliverability Status Requested
2287 | 54662 | Flamingo | Storage/Battery | 304.19 | N/A | N/A | N/A | N/A | 300 | Alameda | CA | PG&E GBA | PGAE | TESLA 230 kV | 230 | 2030-06-01 | 2025-02-12 | 2024-11-19 | 2025-12-02 | Full Capacity Deliverability Status Requested
2310 | 54616 | Icarus Solar | Photovoltaic/Solar | 718.2 | Storage/Battery | 716.4 | N/A | N/A | 700 | Mohave | AZ | SCE EOP | SCE | MOHAVE 500 kV | 500 | 2032-12-31 | 2025-02-12 | 2024-12-02 | 2025-12-02 | Energy Only Requested
2337 | 54885 | Tumey Hills Energy Storage | Storage/Battery | 215.75 | N/A | N/A | N/A | N/A | 207 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2030-06-01 | 2025-02-12 | 2024-11-20 | 2025-12-02 | Full Capacity Deliverability Status Requested
2213 | 54824 | Amberjill Energy | Storage/Battery | 50.19 | Photovoltaic/Solar | 100.49 | N/A | N/A | 100 | Imperial | CA | SAN DIEGO | SDGE | IMPERIAL VALLEY 230 kV | 230 | 2029-07-31 | 2025-02-12 | 2024-11-21 | 2025-12-03 | Energy Only Requested
2369 | 55030 | Blue Oak Storage 2 | Storage/Battery | 609.3 | N/A | N/A | N/A | N/A | 600.28 | Alameda | CA | PG&E GBA | PGAE | TESLA 230 kV | 230 | 2031-12-31 | 2025-02-12 | 2024-11-15 | 2025-12-03 | Full Capacity Deliverability Status Requested
2363 | 54749 | Castoria BESS | Storage/Battery | 61.8 | N/A | N/A | N/A | N/A | 60.07 | Santa Clara | CA | PG&E GBA | PGAE | METCALF 230 kV | 230 | 2030-12-31 | 2025-02-12 | 2024-11-15 | 2025-12-03 | Full Capacity Deliverability Status Requested
2346 | 54650 | Copper Cloud | Storage/Battery | 200 | N/A | N/A | N/A | N/A | 200 | MERCED | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2031-12-31 | 2025-02-12 | 2024-11-26 | 2025-12-03 | Full Capacity Deliverability Status Requested
2347 | 54646 | CRESTLEY | Storage/Battery | 270 | N/A | N/A | N/A | N/A | 270 | MERCED | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2031-12-31 | 2025-02-12 | 2024-11-26 | 2025-12-03 | Full Capacity Deliverability Status Requested
2230 | 55043 | HillRich | Storage/Battery | 308.7 | N/A | N/A | N/A | N/A | 300 | Santa Clara | CA | PG&E GBA | PGAE | MILPITAS 115 kV | 115 | 2028-12-31 | 2025-02-12 | 2024-12-01 | 2025-12-03 | Full Capacity Deliverability Status Requested
2225 | 54923 | Jupiter Bowl | Storage/Battery | 64.36 | N/A | N/A | N/A | N/A | 64 | Stanislaus | CA | PG&E GBA | PGAE | SALADO 115 kV | 115 | 2028-06-01 | 2025-02-12 | 2024-11-20 | 2025-12-03 | Full Capacity Deliverability Status Requested
2345 | 54647 | Silkie | Storage/Battery | 400 | N/A | N/A | N/A | N/A | 400 | MERCED | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2031-12-31 | 2025-02-12 | 2024-11-26 | 2025-12-03 | Full Capacity Deliverability Status Requested
2348 | 55006 | Victorious | Storage/Battery | 516 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-12-31 | 2025-02-12 | 2024-12-01 | 2025-12-03 | Full Capacity Deliverability Status Requested
2278 | 55003 | Grand BESS | Storage/Battery | 205 | N/A | N/A | N/A | N/A | 199 | Santa Clara | CA | PG&E GBA | PGAE | PIERCY 115 kV | 115 | 2028-12-31 | 2025-02-12 | 2024-12-01 | 2025-12-04 | Full Capacity Deliverability Status Requested
2330 | 54598 | Mandorla | Photovoltaic/Solar | 103.3 | Storage/Battery | 103 | N/A | N/A | 100 | Tehama | CA | PG&E NGBA | PGAE | GLENN 230 kV | 230 | 2030-06-30 | 2025-02-12 | 2024-11-26 | 2025-12-04 | Energy Only Requested
2255 | 54595 | Mystic Ridge | Photovoltaic/Solar | 206.1 | Storage/Battery | 206 | N/A | N/A | 200 | San Benito | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2028-04-01 | 2025-02-12 | 2024-11-27 | 2025-12-04 | Full Capacity Deliverability Status Requested
2307 | 54592 | Redpoint | Photovoltaic/Solar | 155.3 | Storage/Battery | 154.4 | N/A | N/A | 150 | Kings | CA | PG&E FRESNO | PGAE | HENRIETTA 230 kV | 230 | 2028-04-01 | 2025-02-12 | 2024-11-25 | 2025-12-04 | Energy Only Requested
2289 | 54632 | Boson | Photovoltaic/Solar | 1173.48 | Storage/Battery | 1173.48 | N/A | N/A | 1150 | Kern | CA | SCE NORTHERN | SCE | Midway - Vincent 500kV #1 | 500 | 2028-09-30 | 2025-02-12 | 2024-11-19 | 2025-12-09 | Full Capacity Deliverability Status Requested
2295 | 40082 | Mount Lassen Power Plant | Biomass/Biofuel | 11.4 | N/A | N/A | N/A | N/A | 10 | Lassen | CA | PG&E NGBA | PGAE | Caribou - Westwood | 60 | 2028-03-31 | 2025-02-12 | 2024-11-26 | 2025-12-10 | Energy Only Requested
2367 | 55023 | Blacktail Energy Storage | Storage/Battery | 10.072 | N/A | N/A | N/A | N/A | 10 | Monterey | CA | PG&E GBA | PGAE | Soledad #1 60kV | 60 | 2028-10-01 | 2025-02-12 | 2024-11-21 | 2025-12-12 | Full Capacity Deliverability Status Requested
2364 | 55036 | Castle Rock Energy Storage | Storage/Battery | 157.6 | N/A | N/A | N/A | N/A | 150 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-12-31 | 2025-02-12 | 2024-11-21 | 2025-12-12 | Full Capacity Deliverability Status Requested
2365 | 55022 | Redtail Energy Storage | Storage/Battery | 22.205 | N/A | N/A | N/A | N/A | 22 | Monterey | CA | PG&E GBA | PGAE | Soledad #2 60kV | 60 | 2028-10-01 | 2025-02-12 | 2024-11-21 | 2025-12-12 | Full Capacity Deliverability Status Requested
2285 | 54666 | Tea Leaf Energy Storage | Storage/Battery | 404.31 | N/A | N/A | N/A | N/A | 400.01 | Alameda | CA | PG&E GBA | PGAE | TESLA 230 kV | 230 | 2030-06-01 | 2025-02-12 | 2024-11-19 | 2026-06-22 | Full Capacity Deliverability Status Requested
2235 | 54841 | Zinfandel Storage Center | Storage/Battery | 153.69 | N/A | N/A | N/A | N/A | 150 | San Joaquin | CA | PG&E GBA | PGAE | BELLOTA-RIVERBANK | 115 | 2030-02-15 | 2025-02-12 | 2024-11-29 | 2026-06-22 | Full Capacity Deliverability Status Requested
2322 | 55045 | Ambar Energy Storage | Storage/Battery | 504.9 | N/A | N/A | N/A | N/A | 500.01 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2030-06-01 | 2025-02-12 | 2024-11-21 | 2026-06-23 | Full Capacity Deliverability Status Requested
2318 | 54861 | Mt Baldy Energy Storage 2 | Storage/Battery | 204.93 | N/A | N/A | N/A | N/A | 199 | San Bernardino County | CA | SCE METRO | SCE | MIRA LOMA 230 kV | 230 | 2031-06-01 | 2025-02-12 | 2024-11-15 | 2026-06-24 | Full Capacity Deliverability Status Requested
2302 | 54866 | Saguaro Energy Storage | Storage/Battery | 204.93 | N/A | N/A | N/A | N/A | 199 | San Bernardino | CA | SCE METRO | SCE | CHINO 230 kV | 230 | 2029-06-01 | 2025-02-12 | 2024-11-15 | 2026-06-24 | Full Capacity Deliverability Status Requested
2277 | 54640 | Circinus | Storage/Battery | 185.643 | Photovoltaic/Solar | 185.643 | N/A | N/A | 180 | Merced | CA | PG&E FRESNO | PGAE | LE GRAND 115 kV | 115 | 2031-12-01 | 2025-02-12 | 2024-11-20 | 2026-06-26 | Energy Only Requested
2239 | 54635 | Pion | Storage/Battery | 1167.705 | N/A | N/A | N/A | N/A | 1150 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2028-12-31 | 2025-02-12 | 2024-11-19 | 2026-06-26 | Full Capacity Deliverability Status Requested
2267 | 54636 | Quark | Photovoltaic/Solar | 869.4 | Storage/Battery | 1175.3 | N/A | N/A | 1150 | Fresno | CA | PG&E KERN | PGAE | HARLAN SW STA 500 kV | 500 | 2028-09-30 | 2025-02-12 | 2024-11-19 | 2026-06-26 | Full Capacity Deliverability Status Requested
2304 | 54914 | Droga | Storage/Battery | 101.93 | N/A | N/A | N/A | N/A | 100 | Merced County | CA | PG&E FRESNO | PGAE | QUINTO SW STA 230 kV | 230 | 2028-06-01 | 2025-02-12 | 2024-11-20 | 2026-07-01 | Full Capacity Deliverability Status Requested
2223 | 54916 | Geras | Photovoltaic/Solar | 133.82 | Storage/Battery | 133.76 | N/A | N/A | 130 | Stanislaus County | CA | PG&E FRESNO | PGAE | FINK SW STA 230 kV | 230 | 2028-06-01 | 2025-02-12 | 2024-11-20 | 2026-07-01 | Full Capacity Deliverability Status Requested
2329 | 54707 | Torbino Solar | Photovoltaic/Solar | 507 | N/A | N/A | N/A | N/A | 450 | Kern | CA | SCE NORTHERN | SCE | WINDHUB 500 kV | 500 | 2029-03-30 | 2025-02-12 | 2024-11-26 | 2026-07-01 | Energy Only Requested
2261 | 54721 | Cassia | Storage/Battery | 102.15 | N/A | N/A | N/A | N/A | 99 | San Joaquin | CA | PG&E GBA | PGAE | LAMMERS 115 kV | 115 | 2031-03-31 | 2025-02-12 | 2024-11-22 | 2026-07-02 | Full Capacity Deliverability Status Requested
2323 | 54719 | Fontus | Storage/Battery | 513.99 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | RANCHO VISTA 230 kV | 230 | 2031-03-31 | 2025-02-12 | 2024-11-22 | 2026-07-02 | Full Capacity Deliverability Status Requested
2325 | 54577 | Galicia Storage | Storage/Battery | 505.6459 | N/A | N/A | N/A | N/A | 490 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-10-01 | 2025-02-12 | 2024-11-12 | 2026-07-02 | Full Capacity Deliverability Status Requested
2312 | 55025 | Musketeers | Photovoltaic/Solar | 524.4837 | Storage/Battery | 522.0193 | N/A | N/A | 500 | Tulare | CA | SCE NORTHERN | SCE | Magunden-Springville No.1 220 kV | 220 | 2029-07-31 | 2025-02-12 | 2024-11-26 | 2026-07-02 | Energy Only Requested
2341 | 54531 | Rover | Storage/Battery | 206.24 | N/A | N/A | N/A | N/A | 200 | Los Angeles | CA | SCE NORTHERN | SCE | VINCENT 230 kV | 230 | 2028-06-30 | 2025-02-12 | 2024-11-06 | 2026-07-02 | Full Capacity Deliverability Status Requested
2236 | 54908 | Summit Valley Energy Storage | Storage/Battery | 518.6815 | N/A | N/A | N/A | N/A | 500 | San Bernadino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2032-06-01 | 2025-02-12 | 2024-11-18 | 2026-07-02 | Full Capacity Deliverability Status Requested
2353 | 54724 | Cabrera Reliability | Storage/Battery | 205.403 | N/A | N/A | N/A | N/A | 199 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-09-15 | 2025-02-12 | 2024-11-14 | 2026-07-06 | Full Capacity Deliverability Status Requested
2231 | 54879 | Tioga Pass | Storage/Battery | 103 | N/A | N/A | N/A | N/A | 100 | San Joaquin | CA | PG&E GBA | PGAE | LOCKEFORD 115 kV | 115 | 2028-01-31 | 2025-02-12 | 2024-12-02 | 2026-07-06 | Full Capacity Deliverability Status Requested
2340 | 54859 | Ulua | Storage/Battery | 104.97 | N/A | N/A | N/A | N/A | 100 | Los Angeles | CA | SCE METRO | SCE | EAGLE ROCK 230 kV | 230 | 2029-06-30 | 2025-02-12 | 2024-11-21 | 2026-07-06 | Full Capacity Deliverability Status Requested
2320 | 54686 | Lupine Energy Center | Storage/Battery | 518.0683 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2030-12-26 | 2025-02-12 | 2024-12-02 | 2026-07-13 | Full Capacity Deliverability Status Requested
2350 | 55001 | Crusade | Storage/Battery | 1029 | N/A | N/A | N/A | N/A | 1000 | Orange | CA | SCE METRO | SCE | VIEJO 230 kV | 230 | 2028-12-31 | 2025-02-12 | 2024-12-02 | 2026-07-14 | Full Capacity Deliverability Status Requested